## JobView
Project Folder | Project ID | Project Name | Jobdef ID | Jobdef Name | Jobrun Duration | Jobrun Finish Time | Jobrun Folder | Jobrun ID | Jobrun Name | Jobrun Start Time | Jobrun UUID | Frame Index | Frame Time | Task Name | File Frame Index | File Name | Points Index (M) | Wells Index (W) | Well Name | Image Width | Image Height | Image Channels | Image Bitdepth | Image Calibration | Object Bin Layer | Object Channel Name | Object ID | Object Key | Spheroid_Area.TD.Area | Spheroid_Area.TD.FillArea.Mean | Spheroid_Area.TD.Perimeter.Mean | Spheroid_Area.TD.Circularity.Mean | Spheroid_Area.TD.Count | Spheroid_Area.TD.EqDiameter.Mean | Spheroid_Area.TD.VolumeEqSphere.Mean | Spheroid_Area.TD.Roughness.Mean | Spheroid_Area.TD.ShapeFactor.Mean | Camera_CH1LaserPower | Camera_CH1PMTHighVoltage | Camera_CH2LaserPower | Camera_CH2PMTHighVoltage | Camera_CH3LaserPower | Camera_CH3PMTHighVoltage | Camera_CH4LaserPower | Camera_CH4PMTHighVoltage | Camera_SDHighVoltage | Camera_TDPMTHighVoltage | Camera_VFCH1Gain | Camera_VFCH2Gain | Camera_VFCH3Gain | Camera_VFCH4Gain | PFS_OFFSET | PFS_STATUS | DistanceToCenter | X_Relative | Y_Relative | X | Y | Z | Z1 | Z2
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 13 | 0:01 | Capture | 0 | WellB11_ChannelFITC,TD_Seq0013.nd2 | 0 | 13 | B11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 150177.8696 | 150177.8696 | 1656.6656 | 0.68762 | 1 | 437.2784 | 43779692.7415 | 0.85182 | 0.94766 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 6.5069 | 90006.5 | 9000.3 | -40863.7 | -22408.4 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 14 | 0:01 | Capture | 0 | WellB10_ChannelFITC,TD_Seq0014.nd2 | 0 | 14 | B10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 142591.3584 | 142591.3584 | 1668.4964 | 0.64365 | 1 | 426.0903 | 40504531.1738 | 0.82212 | 0.95231 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.3 | 81000.3 | 9000 | -31857.5 | -22408.7 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 15 | 0:01 | Capture | 0 | WellB09_ChannelFITC,TD_Seq0015.nd2 | 0 | 15 | B09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149664.5908 | 149664.5908 | 1690.9252 | 0.65778 | 1 | 436.5305 | 43555438.8883 | 0.83245 | 0.94921 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.44721 | 71999.8 | 8999.6 | -22857 | -22409.1 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 16 | 0:01 | Capture | 0 | WellB08_ChannelFITC,TD_Seq0016.nd2 | 0 | 16 | B08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 156168.209 | 156168.209 | 1784.0765 | 0.61656 | 1 | 445.9143 | 46425088.9631 | 0.80515 | 0.95108 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.8544 | 62999.2 | 9000.3 | -13856.4 | -22408.4 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 17 | 0:01 | Capture | 0 | WellB07_ChannelFITC,TD_Seq0017.nd2 | 0 | 17 | B07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 160543.5979 | 160543.5979 | 1819.0104 | 0.60972 | 1 | 452.1177 | 48389739.8878 | 0.8024 | 0.94701 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.31623 | 53999.7 | 8999.9 | -4856.9 | -22408.8 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 18 | 0:01 | Capture | 0 | WellB06_ChannelFITC,TD_Seq0018.nd2 | 0 | 18 | B06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 146203.0886 | 146203.0886 | 1566.5724 | 0.74863 | 1 | 431.4528 | 42053158.6129 | 0.88379 | 0.95845 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.8 | 44998.2 | 9000 | 4144.6 | -22408.7 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 19 | 0:01 | Capture | 0 | WellB05_ChannelFITC,TD_Seq0019.nd2 | 0 | 19 | B05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 148293.7608 | 148293.7608 | 1590.4894 | 0.73667 | 1 | 434.5267 | 42958402.1426 | 0.87106 | 0.97091 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.0198 | 35999 | 9000.2 | 13143.8 | -22408.5 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 20 | 0:01 | Capture | 0 | WellB04_ChannelFITC,TD_Seq0020.nd2 | 0 | 20 | B04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 143173.4917 | 143173.4917 | 1732.3295 | 0.59953 | 1 | 426.9592 | 40752825.5172 | 0.82835 | 0.87375 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.82462 | 26999.2 | 9000.2 | 22143.6 | -22408.5 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 21 | 0:01 | Capture | 0 | WellB03_ChannelFITC,TD_Seq0021.nd2 | 0 | 21 | B03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 143780.663 | 143780.663 | 1678.8969 | 0.64101 | 1 | 427.8636 | 41012337.5262 | 0.82149 | 0.94986 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.3153 | 17998.7 | 9000.2 | 31144.1 | -22408.5 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 22 | 0:01 | Capture | 0 | WellB02_ChannelFITC,TD_Seq0022.nd2 | 0 | 22 | B02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149551.9199 | 149551.9199 | 1636.3005 | 0.7019 | 1 | 436.3662 | 43506263.8363 | 0.85785 | 0.95378 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.5811 | 8998.5 | 9000.5 | 40144.3 | -22408.2 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 25 | 0:01 | Capture | 0 | WellC02_ChannelFITC,TD_Seq0025.nd2 | 0 | 25 | C02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 142441.1304 | 142441.1304 | 1536.5799 | 0.75811 | 1 | 425.8658 | 40440537.3639 | 0.88628 | 0.96513 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 3.015 | 9003 | 18000.3 | 40139.8 | -13408.4 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 26 | 0:01 | Capture | 0 | WellC03_ChannelFITC,TD_Seq0026.nd2 | 0 | 26 | C03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 142315.9405 | 142315.9405 | 1647.893 | 0.65858 | 1 | 425.6786 | 40387234.9596 | 0.83106 | 0.95354 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.3409 | 18002.2 | 17999.2 | 31140.6 | -13409.5 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 27 | 0:01 | Capture | 0 | WellC04_ChannelFITC,TD_Seq0027.nd2 | 0 | 27 | C04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 146578.6584 | 146578.6584 | 1758.4908 | 0.59566 | 1 | 432.0066 | 42215303.3167 | 0.79731 | 0.93701 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4083 | 27002.4 | 17999.8 | 22140.4 | -13408.9 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 28 | 0:01 | Capture | 0 | WellC05_ChannelFITC,TD_Seq0028.nd2 | 0 | 28 | C05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 148181.0899 | 148181.0899 | 1612.9591 | 0.71574 | 1 | 434.3616 | 42909452.8996 | 0.8645 | 0.95769 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.6019 | 36002.6 | 17999.9 | 13140.2 | -13408.8 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 29 | 0:01 | Capture | 0 | WellC06_ChannelFITC,TD_Seq0029.nd2 | 0 | 29 | C06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149226.426 | 149226.426 | 1634.7136 | 0.70173 | 1 | 435.891 | 43364306.6348 | 0.85619 | 0.95726 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.6926 | 45002.6 | 18000.7 | 4140.2 | -13408 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 30 | 0:01 | Capture | 0 | WellC07_ChannelFITC,TD_Seq0030.nd2 | 0 | 30 | C07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 154265.3217 | 154265.3217 | 1853.4675 | 0.5643 | 1 | 443.1892 | 45579154.4113 | 0.7779 | 0.93252 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.3087 | 54002.3 | 18000.2 | -4859.5 | -13408.5 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 31 | 0:01 | Capture | 0 | WellC08_ChannelFITC,TD_Seq0031.nd2 | 0 | 31 | C08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 144863.5561 | 144863.5561 | 1569.5897 | 0.73892 | 1 | 429.4718 | 41476539.3351 | 0.87395 | 0.96744 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4083 | 63002.4 | 17999.8 | -13859.6 | -13408.9 | 4388.0005 | 4388 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 32 | 0:01 | Capture | 0 | WellC09_ChannelFITC,TD_Seq0032.nd2 | 0 | 32 | C09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 141877.7756 | 141877.7756 | 1653.4508 | 0.65214 | 1 | 425.0228 | 40200861.1938 | 0.82479 | 0.95864 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.5033 | 72001.5 | 18000.1 | -22858.7 | -13408.6 | 4388.0005 | 4388 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 33 | 0:01 | Capture | 0 | WellC10_ChannelFITC,TD_Seq0033.nd2 | 0 | 33 | C10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 135806.0628 | 135806.0628 | 1699.5003 | 0.59086 | 1 | 415.8289 | 37648054.4885 | 0.79121 | 0.94385 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.80623 | 81000.8 | 17999.9 | -31858 | -13408.8 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 34 | 0:01 | Capture | 0 | WellC11_ChannelFITC,TD_Seq0034.nd2 | 0 | 34 | C11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 147623.9946 | 147623.9946 | 1609.1279 | 0.71645 | 1 | 433.5444 | 42667699.6571 | 0.86499 | 0.95755 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0 | 90000 | 18000 | -40857.2 | -13408.7 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 37 | 0:01 | Capture | 0 | WellD11_ChannelFITC,TD_Seq0037.nd2 | 0 | 37 | D11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 141934.1111 | 141934.1111 | 1653.5495 | 0.65232 | 1 | 425.1072 | 40224807.4347 | 0.83107 | 0.94447 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 6.5008 | 90006.5 | 26999.9 | -40863.7 | -4408.8 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 38 | 0:01 | Capture | 0 | WellD10_ChannelFITC,TD_Seq0038.nd2 | 0 | 38 | D10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 141039.0029 | 141039.0029 | 1589.0012 | 0.70194 | 1 | 423.7646 | 39844891.0782 | 0.85716 | 0.95538 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.63246 | 81000.6 | 27000.2 | -31857.8 | -4408.5 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 39 | 0:01 | Capture | 0 | WellD09_ChannelFITC,TD_Seq0039.nd2 | 0 | 39 | D09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 145527.0628 | 145527.0628 | 1741.1431 | 0.60323 | 1 | 430.4542 | 41761822.8061 | 0.79507 | 0.95428 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.28284 | 72000.2 | 27000.2 | -22857.4 | -4408.5 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 40 | 0:01 | Capture | 0 | WellD08_ChannelFITC,TD_Seq0040.nd2 | 0 | 40 | D08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 145257.9044 | 145257.9044 | 1629.3942 | 0.68754 | 1 | 430.0559 | 41646016.0322 | 0.85494 | 0.94064 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.41231 | 62999.6 | 27000.1 | -13856.8 | -4408.6 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 41 | 0:01 | Capture | 0 | WellD07_ChannelFITC,TD_Seq0041.nd2 | 0 | 41 | D07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 150346.8761 | 150346.8761 | 1757.6769 | 0.61154 | 1 | 437.5244 | 43853616.3955 | 0.80589 | 0.94161 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.44721 | 53999.6 | 26999.8 | -4856.8 | -4408.9 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 42 | 0:01 | Capture | 0 | WellD06_ChannelFITC,TD_Seq0042.nd2 | 0 | 42 | D06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149971.3062 | 149971.3062 | 1641.998 | 0.69899 | 1 | 436.9776 | 43689398.0836 | 0.85146 | 0.96414 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.7029 | 44998.3 | 27000.1 | 4144.5 | -4408.6 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 43 | 0:01 | Capture | 0 | WellD05_ChannelFITC,TD_Seq0043.nd2 | 0 | 43 | D05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 147855.596 | 147855.596 | 1633.0857 | 0.69667 | 1 | 433.8843 | 42768148.5154 | 0.86197 | 0.93765 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.92195 | 35999.1 | 27000.2 | 13143.7 | -4408.5 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 44 | 0:01 | Capture | 0 | WellD04_ChannelFITC,TD_Seq0044.nd2 | 0 | 44 | D04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 147843.077 | 147843.077 | 1745.5089 | 0.60977 | 1 | 433.8659 | 42762716.8348 | 0.79903 | 0.95508 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.90554 | 26999.1 | 26999.9 | 22143.7 | -4408.8 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 45 | 0:01 | Capture | 0 | WellD03_ChannelFITC,TD_Seq0045.nd2 | 0 | 45 | D03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 157526.52 | 157526.52 | 1834.1548 | 0.58843 | 1 | 447.8493 | 47032094.3611 | 0.79038 | 0.94192 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.2369 | 17998.8 | 27000.3 | 31144 | -4408.4 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 46 | 0:01 | Capture | 0 | WellD02_ChannelFITC,TD_Seq0046.nd2 | 0 | 46 | D02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149251.464 | 149251.464 | 1664.0896 | 0.67729 | 1 | 435.9276 | 43375220.9281 | 0.84487 | 0.94885 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.7263 | 8998.3 | 27000.3 | 40144.5 | -4408.4 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 49 | 0:01 | Capture | 0 | WellE02_ChannelFITC,TD_Seq0049.nd2 | 0 | 49 | E02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 151836.6365 | 151836.6365 | 1650.5322 | 0.70039 | 1 | 439.6867 | 44507034.9279 | 0.85423 | 0.95982 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.0224 | 9002 | 35999.7 | 40140.8 | 4591 | 4387.8505 | 4387.85 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 50 | 0:01 | Capture | 0 | WellE03_ChannelFITC,TD_Seq0050.nd2 | 0 | 50 | E03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 142941.8903 | 142941.8903 | 1512.663 | 0.78503 | 1 | 426.6137 | 40653981.1641 | 0.90335 | 0.962 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.9069 | 18002.9 | 35999.8 | 31139.9 | 4591.1 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 51 | 0:01 | Capture | 0 | WellE04_ChannelFITC,TD_Seq0051.nd2 | 0 | 51 | E04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 152606.5548 | 152606.5548 | 1661.3107 | 0.69483 | 1 | 440.8001 | 44845986.5188 | 0.85129 | 0.9588 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.42426 | 27000.3 | 35999.7 | 22142.5 | 4591 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 52 | 0:01 | Capture | 0 | WellE05_ChannelFITC,TD_Seq0052.nd2 | 0 | 52 | E05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 146134.2341 | 146134.2341 | 1641.5212 | 0.68151 | 1 | 431.3512 | 42023454.652 | 0.84565 | 0.95298 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4021 | 36002.4 | 35999.9 | 13140.4 | 4591.2 | 4387.8255 | 4387.825 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 53 | 0:01 | Capture | 0 | WellE06_ChannelFITC,TD_Seq0053.nd2 | 0 | 53 | E06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 146710.1079 | 146710.1079 | 1513.814 | 0.8045 | 1 | 432.2003 | 42272103.0836 | 0.91075 | 0.9699 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.816 | 45002.8 | 35999.7 | 4140 | 4591 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 54 | 0:01 | Capture | 0 | WellE07_ChannelFITC,TD_Seq0054.nd2 | 0 | 54 | E07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 153439.068 | 153439.068 | 1719.3886 | 0.65223 | 1 | 442.0008 | 45213458.4242 | 0.82807 | 0.95118 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4083 | 54002.4 | 35999.8 | -4859.6 | 4591.1 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 55 | 0:01 | Capture | 0 | WellE08_ChannelFITC,TD_Seq0055.nd2 | 0 | 55 | E08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 159492.0023 | 159492.0023 | 1627.4292 | 0.75674 | 1 | 450.6346 | 47915074.2645 | 0.88672 | 0.96244 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.1095 | 63002.1 | 35999.8 | -13859.3 | 4591.1 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 56 | 0:01 | Capture | 0 | WellE09_ChannelFITC,TD_Seq0056.nd2 | 0 | 56 | E09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 155110.3539 | 155110.3539 | 1682.4897 | 0.68857 | 1 | 444.4014 | 45954175.9953 | 0.84656 | 0.96079 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.22361 | 72000.2 | 35999.9 | -22857.4 | 4591.2 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 57 | 0:01 | Capture | 0 | WellE10_ChannelFITC,TD_Seq0057.nd2 | 0 | 57 | E10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 159210.3249 | 159210.3249 | 1636.7773 | 0.7468 | 1 | 450.2365 | 47788196.7492 | 0.88183 | 0.96035 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.8 | 81000.8 | 36000 | -31858 | 4591.3 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 58 | 0:01 | Capture | 0 | WellE11_ChannelFITC,TD_Seq0058.nd2 | 0 | 58 | E11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 159817.4962 | 159817.4962 | 1673.5774 | 0.71704 | 1 | 451.0942 | 48061827.874 | 0.86943 | 0.94859 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.8 | 90000 | 35999.2 | -40857.2 | 4590.5 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 61 | 0:01 | Capture | 0 | WellF11_ChannelFITC,TD_Seq0061.nd2 | 0 | 61 | F11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 155022.7209 | 155022.7209 | 1639.3178 | 0.7249 | 1 | 444.2759 | 45915237.2794 | 0.87198 | 0.95339 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 6.6008 | 90006.6 | 44999.9 | -40863.8 | 13591.2 | 4387.9755 | 4387.975 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 62 | 0:01 | Capture | 0 | WellF10_ChannelFITC,TD_Seq0062.nd2 | 0 | 62 | F10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 148769.4826 | 148769.4826 | 1628.3418 | 0.70507 | 1 | 435.2231 | 43165281.688 | 0.85579 | 0.9627 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.41231 | 81000.4 | 45000.1 | -31857.6 | 13591.4 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 63 | 0:01 | Capture | 0 | WellF09_ChannelFITC,TD_Seq0063.nd2 | 0 | 63 | F09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 151385.9527 | 151385.9527 | 1753.1714 | 0.61894 | 1 | 439.0337 | 44309022.3488 | 0.81068 | 0.94177 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.31623 | 72000.1 | 45000.3 | -22857.3 | 13591.6 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 64 | 0:01 | Capture | 0 | WellF08_ChannelFITC,TD_Seq0064.nd2 | 0 | 64 | F08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 154866.2334 | 154866.2334 | 1601.5063 | 0.75877 | 1 | 444.0516 | 45845731.2307 | 0.88787 | 0.96252 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.82462 | 62999.2 | 45000.2 | -13856.4 | 13591.5 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 65 | 0:01 | Capture | 0 | WellF07_ChannelFITC,TD_Seq0065.nd2 | 0 | 65 | F07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149307.7995 | 149307.7995 | 1528.2841 | 0.80331 | 1 | 436.0099 | 43399781.4353 | 0.90939 | 0.97137 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.5099 | 53999.5 | 45000.1 | -4856.7 | 13591.4 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 66 | 0:01 | Capture | 0 | WellF06_ChannelFITC,TD_Seq0066.nd2 | 0 | 66 | F06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 151442.2882 | 151442.2882 | 1588.3269 | 0.75436 | 1 | 439.1154 | 44333757.8232 | 0.88563 | 0.96176 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.7263 | 44998.3 | 45000.3 | 4144.5 | 13591.6 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 67 | 0:01 | Capture | 0 | WellF05_ChannelFITC,TD_Seq0067.nd2 | 0 | 67 | F05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 146240.6456 | 146240.6456 | 1631.4579 | 0.69044 | 1 | 431.5083 | 42069363.722 | 0.84933 | 0.95713 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.118 | 35998.9 | 45000.2 | 13143.9 | 13591.5 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 68 | 0:01 | Capture | 0 | WellF04_ChannelFITC,TD_Seq0068.nd2 | 0 | 68 | F04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 152268.5419 | 152268.5419 | 1590.6291 | 0.75628 | 1 | 440.3116 | 44697072.9537 | 0.88715 | 0.96092 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.4 | 26999.6 | 45000 | 22143.2 | 13591.3 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 69 | 0:01 | Capture | 0 | WellF03_ChannelFITC,TD_Seq0069.nd2 | 0 | 69 | F03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 145445.6894 | 145445.6894 | 1585.4084 | 0.72716 | 1 | 430.3338 | 41726800.1516 | 0.87169 | 0.95698 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.3153 | 17998.7 | 45000.2 | 31144.1 | 13591.5 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 70 | 0:01 | Capture | 0 | WellF02_ChannelFITC,TD_Seq0070.nd2 | 0 | 70 | F02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 161225.8831 | 161225.8831 | 1678.6585 | 0.71898 | 1 | 453.0774 | 48698540.6685 | 0.87241 | 0.94467 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.3038 | 8998.7 | 45000.1 | 40144.1 | 13591.4 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 73 | 0:02 | Capture | 0 | WellG02_ChannelFITC,TD_Seq0073.nd2 | 0 | 73 | G02 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 159492.0023 | 159492.0023 | 1629.7313 | 0.7546 | 1 | 450.6346 | 47915074.2645 | 0.88893 | 0.95495 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.6155 | 9001.5 | 53999.4 | 40141.3 | 22590.7 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 74 | 0:02 | Capture | 0 | WellG03_ChannelFITC,TD_Seq0074.nd2 | 0 | 74 | G03 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 150340.6166 | 150340.6166 | 1654.1251 | 0.69048 | 1 | 437.5153 | 43850877.7411 | 0.84665 | 0.96325 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 3.0414 | 18003 | 54000.5 | 31139.8 | 22591.8 | 4387.9005 | 4387.9 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 75 | 0:02 | Capture | 0 | WellG04_ChannelFITC,TD_Seq0075.nd2 | 0 | 75 | G04 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 154490.6636 | 154490.6636 | 1739.8524 | 0.64134 | 1 | 443.5128 | 45679059.9881 | 0.82608 | 0.93981 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4083 | 27002.4 | 53999.8 | 22140.4 | 22591.1 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 76 | 0:02 | Capture | 0 | WellG05_ChannelFITC,TD_Seq0076.nd2 | 0 | 76 | G05 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 157226.0641 | 157226.0641 | 1767.5018 | 0.63243 | 1 | 447.422 | 46897599.5835 | 0.81164 | 0.96003 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.6077 | 36002.6 | 53999.8 | 13140.2 | 22591.1 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 77 | 0:02 | Capture | 0 | WellG06_ChannelFITC,TD_Seq0077.nd2 | 0 | 77 | G06 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 153933.5683 | 153933.5683 | 1757.1014 | 0.62654 | 1 | 442.7124 | 45432203.9574 | 0.81452 | 0.94438 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.6019 | 45002.6 | 53999.9 | 4140.2 | 22591.2 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 78 | 0:02 | Capture | 0 | WellG07_ChannelFITC,TD_Seq0078.nd2 | 0 | 78 | G07 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 162746.9411 | 162746.9411 | 1874.0709 | 0.5823 | 1 | 455.2097 | 49389320.6028 | 0.78132 | 0.95388 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.5179 | 54002.5 | 53999.7 | -4859.7 | 22591 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 79 | 0:02 | Capture | 0 | WellG08_ChannelFITC,TD_Seq0079.nd2 | 0 | 79 | G08 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 154590.8155 | 154590.8155 | 1640.033 | 0.72225 | 1 | 443.6566 | 45723485.8662 | 0.86905 | 0.95632 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 2.4021 | 63002.4 | 53999.9 | -13859.6 | 22591.2 | 4387.8505 | 4387.85 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 80 | 0:02 | Capture | 0 | WellG09_ChannelFITC,TD_Seq0080.nd2 | 0 | 80 | G09 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 149946.2682 | 149946.2682 | 1683.0652 | 0.66519 | 1 | 436.9411 | 43678457.4998 | 0.83503 | 0.95399 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 1.5297 | 72001.5 | 53999.7 | -22858.7 | 22591 | 4387.9255 | 4387.925 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 81 | 0:02 | Capture | 0 | WellG10_ChannelFITC,TD_Seq0081.nd2 | 0 | 81 | G10 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 158540.5586 | 158540.5586 | 1813.5513 | 0.60575 | 1 | 449.2884 | 47486960.9181 | 0.80388 | 0.93736 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.63246 | 81000.6 | 53999.8 | -31857.8 | 22591.1 | 4387.9505 | 4387.95 | -0.0005
Rhannon Spheroid Tests | 1 | Rhannon Spheroid Tests | 2 | Spheroid Imaging Single Plane with Area | 0:02 | 2020-02-07 09:17 | Spheroid_Imaging_Single_Plane_with_Area\20200207_091546_386 | 803 | Spheroid Imaging Single Plane with Area | 2020-02-07 09:15 | 6ba668e0c8454c73abdb0aa56f8fb073 | 82 | 0:02 | Capture | 0 | WellG11_ChannelFITC,TD_Seq0082.nd2 | 0 | 82 | G11 | 512 | 512 | 2 | 12 | 2.5019 |  |  |  |  | 143686.7705 | 143686.7705 | 1530.8246 | 0.77051 | 1 | 427.7238 | 40972170.9207 | 0.90109 | 0.94895 | 7 | 60 | 6.1504 | 65 | 7 | 60 | 7 | 60 | 0 | 51 | 0 | 0 | 0 | 0 | 5917 | 0 | 0.31623 | 90000.3 | 53999.9 | -40857.5 | 22591.2 | 4387.9755 | 4387.975 | -0.0005